1ST FOR FENCING (ERECTORS & CONSULTANTS) Ltd.

100 AKER WOOD, ANNAY ROAD, MELROSE

TEL: 01896 823717 / 07711 971 931    mark@1stforfencing.co.uk

PRESSURE TREATED SCANDINAVIAN REDWOOD STABLES

Base – We recommend a concrete base a minimum of 100mm deep.

Timber – Top Quality Pressure Treated ex. 16mm Scandinavian Redwood weatherboarding.

Kickboards – 12mm sterling boards or with 150mm x 19mm Pressure Treated boards.

Framework – 100mm x 38mm Pressure Treated Framing.

Roof – 150mm x 50mm Roof Joists

19mm TGV Cladding

35kg roofing felt.

Doors – All bottom doors are fitted with galvanised chew strips & kick bolts.

Windows – Pilkington Toughened Safety Glass fitted on each stable, protected with wire mesh.

Preservative – Units are all Pressure Treated before leaving our works.

Extras (Optional) – Additional opening window - £95.00

Guttering per ft run per side - £9.50

227 litre water butt & stand with downpipe - £225.00

Bolting down to base £80.00 per box (recommended)

Timber cladding under overhang £35.00 per ft (x4’ wide)

Prices

LOOSE BOXES                                     12’ x 12’                                 £2995.00

12’ x 24’                                 £5250.00

12’ x 36’                                 £6750.00

(12’ x 12’ additional units)                                                               £2595.00

TACK ROOM                                          12’ x 6’                                   £1595.00

HAY STORES                                         12’ x 6’  Open front         £1495.00

FREE STANDING                                 12’ x 12’   £2695.00 (Pent Roof)   £2895.00 (Apex Roof)

FIELD SHELTER                                   12’ x 18’   £3395.00 (Pent Roof)   £3595.00 (Apex Roof)

12’ x 24’   £3595.00 (Pent Roof)   £3795.00 (Apex Roof)

12’ x 30’   £3795.00 (Pent Roof)   £3995.00 (Apex Roof)

12’ x 36’  £4095.00 (Pent Roof)    £4295.00 (Apex Roof)

Apex Roofs have 4ft overhang and would require gutters to front side (not included)

ALL PRICES ARE SUBJECT TO VAT @ 20%

Conditions of sale – 50% deposit at time of order, full payment at time of delivery arranged.

Delivery and Erection P.O.A

Access to site must be on hard standing or other arrangements to deliver unit(s) to be implemented before delivery.

We recommend sealing units with clear Wood Preserver after erection which is £30.00 for 5 litres.